# PART 1 - GENERAL

1.1	Work of this section includes:

.1	Preparation of substrate, inspections.

.2	BASF Elastospray HPS-5100 Series Sprayed-in-place Polyurethane

Foam (SPF) Insulation or General Electric or approved equivalent.

.3	BASF-Dow Corning 3-5000 Silicone Roof Coating Application or

General Electric or approved equivalent.

.4	Roofing granules.

.5	Walkways

1.2	Scope

.1	Contractor to perform rehabilitation of existing SPF roofing systems,

which are silicone coated.  Designated areas will require removal of the coating and some of the insulation, other areas shall require surface preparation and recoating with silicone coatings and granules.  Areas shall be as described by the specifier.

1.3	Inspection

.1	In all cases, an inspection of the existing polyurethane foam roof

system must be completed by an approved applicator and submitted to BASF’s Technical Service Department, detailing any deficiencies in the current system.  In some cases, an infrared survey is required to determine if there is any residual moisture in the existing system.  If extensive deficiencies are observed on the existing polyurethane foam roof system, recoating with Dow Corning 3-5000 Silicone Roof Coating would not be recommended, and a total tear-off would be suggested.

1.4	Quality Assurance

.1	Contractor Qualifications:  Must be a current BASF approved

applicator or current applicator of the approved roof system manufacturer.

.2	Roofing contractor must exhibit 5 years and a minimum of 500,000

sq.ft. experience with the selected roofing system, with projects of a similar scope and nature.

.3	The roofing applicator shall perform the work of this section.

Subcontracting installation of the silicone/polyurethane is not allowed.

.4	Inspections:  Completed roofing application will be inspected by an

independent inspection firm designated by the warranty provider, on a periodic basis.

1.5	Submittals

.1	Any alternate products shall be submitted to the owner and/or

owner’s representative 10 days before bid date to allow time for product review.  Submittals shall include:  all appropriate technical data sheets, manufacturer’s references, warranty, follow-up inspection policy and outline, material safety data sheets, and a typical, physical sample (3’ x 3’) to be used as a standard of quality.  Manufacturer shall supply list of geographically appropriate work and list of work of similar size and scope to substantiate their period of performance, see 2.2.1.1.

.2	Applicator shall submit to owner’s representative at or before time of

bid:

.1	Reference projects with contacts, substantiating years of

experience and completion of minimum prior work submitted by contractor.

.2	Provide specimen copy of warranty.

.3	Submit Underwriters Laboratory, UL 790 Class A, Factory Mutual

listing, and/or local building code approvals as required.

1.6	Delivery, Storage and Handling

.1	Deliver materials to the site in their original, tightly sealed containers,

all clearly labeled with manufacturer’s name, product identification and lot number.

.2	Safely store materials in their original containers out of the weather

and where the temperatures are within the limits specified by the manufacturer.

.3	All materials shall be stored in compliance with applicable fire and

safety requirements.

.4	Protect materials from damage during transit, handling, storage and

installation.  Contractor shall provide secure site storage trailers.

1.7	Environmental Conditions

.1	Neither the silicone coating nor the polyurethane foam shall be

applied during periods of inclement weather (rain, snow, fog, mist).

.2	Do not apply the polyurethane foam when substrate or ambient air

temperature are below 50°F unless specifically approved in writing by the polyurethane foam manufacturer.

.3	Do not apply silicone coatings when temperature is below 40°F.

.4	When wind speeds exceed 10 miles per hour at the job site,

windscreens shall be used during the application of the polyurethane foam and coatings to prevent overspray onto surfaces not intended to receive foam and coating.  Under no circumstances shall the polyurethane foam or silicone coating be applied with wind speeds exceed 25 miles per hour.

1.8	Warranty

.1	The manufacturer’s 10-year Full system Warranty shall be issued

upon completion, inspection and acceptance of the project.  This warranty covers repair of leaks caused by deterioration of any component of the installed system, improper workmanship in the roof installation, and defects in the coating.  Any repairs covered by the warranty are without cost to the Owner throughout the term.  The warranty shall be comprehensive with no proration and no cap for repairs.

# PART 2 - PRODUCTS

2.1	Polyurethane Foam Insulation

.1	Physical property requirements are as follows for acceptable

insulation products, such as BASF Elastospray HPS-5100, General Electric or approved equivalent.

Property						Value		Test Method

Density, sprayed-in-place, pcf, min.		3		ASTM D-1622

Compressive strength, psi			50		ASTM D-1621

Closed-cell content, percent, min.		95		ASTM D-2856

K-factor, aged, max.				0.16		ASTM C-518

Dimensional Stability, 28 days,			+8%		ASTM D-2126

28 days, 100% R.H., percent

volume change, max.

Flame spread, max.				75		ASTM E-84

2.2	Silicone Coatings

.1	The silicone roofing membrane shall consist of a minimum two coats

of an elastomeric, liquid applied material, domestically engineered and produced.  The two coats shall be of contrasting colors.  The minimum two-coat thickness shall be 20 dry mils on newly applied polyurethane foam and 15 dry mils on existing coating.

.1	The silicone coating will be a product proven through actual

roof performance for a period of time equal to, or longer, than the term of the requested warranty (ten years).

.2	The coating as supplied by BASF and manufactured by Dow

Corning is DOW CORNING 3-5000 and has the following minimum properties:

## Property						Value			Test Method

As Supplied:

Solids Content

by weight, percent	77	**CTM 0010 (ASTM D-2697)

by volume, percent	62	CTM 0010 (ASTM D-2697)

Specific Gravity at 77°F (25°C)	1.23	CTM 0997 (ASTM D-1293)

Flash Point, Pensky-Martin closed cup, 	100 (37.8)	CTM 0021A

°F °C, min.

Tack Free Time, hours	1	CTM 0244 (MIL-S-3802)

Dry Time, hours	3.5	CTM 0291 (ASTM D-115)

Volatile Organic Content (VOC, g/l)	290	ASTM D-3960/EPAMethod 24

As Cured:

Durometer Hardness, Shore A, points	45	CTM 0099 (ASTM D-2240)

Tensile Strength, die C, psi	400	CTM 0137A (ASTM D-412)

Elongation, percent	150	CTM 0137A (ASTM D-412)

Permeability1, perms	3.7	CTM 0876 (ASTM E-96)

Water Absorption, percent	0.5	CTM 0231A (ASTM D-471)

Weatherometer,

Carbon-Arc 4,000 hours	No observable

QUV, 10,000 hours	degradation

1 20 mils at 100°F (37.8°C) and 90 percent relative humidity.

** CTM is Dow Corning Corporate Test Method.  Correlating ASTM standards are

provided where applicable.

2.3	Sealant

.1	Sealant shall be a silicone sealant such as Dow Corning®

Construction Sealant.  The color of this sealant, if exposed, shall closely match that of the topcoat.

2.4	Substrate Primer

.1	Freshly scarfed/planed SPF will require a primer.  It must not be left

exposed longer than the manufacturer’s recommendations.  For B.U.R., concrete, wood, brick, metal (ferrous, not rusted) – the primer must be approved by BASF, such as Uniseal, a water based epoxy primer from United Coatings.

.2	For non-ferrous metals (cleaned aluminum, galvanized copper, etc.)

– a primer shall be required, which is approved by BASF.  Such a primer is Techno Adhesive’s P199 Primer.

.3	Cut-back asphalt primers are not to be used.

2.5	Granules

.1	Granules shall be number 11 screen size, ceramic-coated roofing

granules as manufactured by the Industrial Products Division of 3M Company, color to best match topcoat.

2.6	Protective Covering/Walkways

.1	As required, a weather-resistant, breathable, resilient pad composed

of synthetic rubber strands shall be installed to create additionally protected roof areas.  This product shall be approved by BASF.  Such a walkway is Yellow Spaghetti, as manufactured by Western Plastics, Inc.

# PART 3 - EXECUTION

3.1	Inspection

.1	Verify that all surfaces to receive polyurethane foam insulation are

clean, dry and free of dust, dirt, debris, oil, solvents and all materials that may adversely affect the adhesion of the polyurethane foam.

.2	Verify that all roof penetrations and flashings are properly installed

and secured.

.3	Do not begin applying polyurethane foam insulation until substrate

and environmental conditions are satisfactory.

3.2	Surface Preparation

.1	Existing Coated Polyurethane Foam Roofing System – Areas to be

Scarfed (If required)

.1	Existing roof shall be inspected for any areas of wet insulation

and areas of poor drainage; they shall be plotted on a roof diagram for later inspection and remediation.

.2	The entire coating surface and approximately 1” of insulation

shall be removed by a roof scarfer.  This machine shall be designed to plane seamless polyurethane to a level and renewable condition.  All waste created in the planing process shall be contained, gathered and properly disposed of.

.3	Any wet insulation, including that within the underlying built-up-

roof, shall be removed.  Clean and dry the area and install new similar compatible insulation, and/or apply polyurethane to the level of adjacent surfaces.

.4	Primer – Install primer only as required by the roofing or

insulation manufacturer’s recommendations.

.5	Continue with application of SPF Insulation and Coating System.

.2	Recoat

.1	For existing polyurethane foam roof systems that are deemed

“acceptable for recoating”, the following surface preparation guidelines shall be followed:

.1	Clean existing coated surface with a high pressure power

wash using only clean water.  During the power wash operation, the water pressure should be sufficient to remove dirt and debris without damaging the existing coating and polyurethane foam.  Power washing with a detergent solution and water is only permitted when power washing with water alone does not sufficiently remove dirt and other contaminants.

.2	Scour any areas of accumulated dirt, fungus, mold, grease,

oil, etc with a detergent solution such as TSP and water.  Solvents should not be used for these cleaning purposes.

.3	In areas where detergent solution has been used in the

cleaning process, additional power washing with clean water is required to remove all residual detergent.

.4	The following minimum work shall be completed:

.1	All wet or otherwise substandard polyurethane insulation

shall be removed and replaced.  Apply the polyurethane foam in strict accordance with the polyurethane foam manufacturer’s specifications and application instructions, using spray equipment recommended by the foam manufacturer.  The field of the roof shall be applied, as practical, by a robotic SPF application device.  The robotic method shall improve: consistency, slope-to-drain, and visual appearance.

.2	Any deteriorated components of the substrate shall be

replaced or brought up to acceptable standards of the warranty provider or good roofing practice.

.3	The existing coating shall be properly adhered.  If not, all

loose coating shall be removed.  Cracks, flashing details, slope-to-drain, metal edging, penetrations, roof drains and all other components of the roofing system shall be functional and in accordance with manufacturer’s application recommendations.

.5	Deficiencies outlined in the approved applicator inspection or

infrared moisture survey shall be properly repaired prior to the recoat operations.  Should any questions exist regarding the proper repair procedures, please contact the Technical Service Department.

.6	Continue with coating application, as follows.

.3	Contact BASF Technical Service Department for recommendations on

surface preparations on other surfaces to receive a BASF/Dow Corning 3-5000 Silicone Roof System.

3.3	Polyurethane Foam Application

.1	Inspection

.1	Prior to polyurethane foam application, inspect the substrate

surface to ensure preparations required in Section 3.2 have been met.

.2	Polyurethane foam shall not be applied unless the

environmental requirements of Section 1.7 are met.

.2	Application

.1	All objects that require protection from overspray shall be

protected.   All movable objects shall be moved to an acceptable area.  All intake air vents shall be turned off and covered.

.2	Apply the polyurethane foam in strict accordance with the

polyurethane foam manufacturer’s specifications and application instructions, using spray equipment recommended by the foam manufacturer.  The field of the roof shall be applied, as practical, by a digitally controlled robotic SPF application device.  The robotic method shall improve consistency, slope-to-drain, and visual appearance.

.3	Polyurethane foam shall be applied in a minimum of 1” thick

passes.  The total thickness of the polyurethane foam shall be a minimum of 2 inches, except where tapering is required to facilitate drainage.  A minimum of 1 inch of the polyurethane foam is required for a BASF warranty.

.4	Apply the full thickness of polyurethane foam in any area on the

same day.

.5	Polyurethane foam shall be applied to ensure proper drainage,

resulting in no ponding water.  Ponding water is defined as “an area of 100 square feet or more which holds in excess of ½” of after as measured 24 hours after rainfall”.

.6	The polyurethane foam shall be terminated nearly a minimum of

4 inches above the finished roof surface at roof penetrations.  Foamed-in-place cants shall be applied to allow a smooth transition from the horizontal to vertical surface.

.7	The finished polyurethane foam surface texture shall be

“smooth to orange peel”, free of voids, pinholes and depressions.  “Verge of popcorn” texture is acceptable if it can be thoroughly and completely coated.  Popcorn and tree bark textures are not acceptable.  Unacceptable foam textures shall be removed and refoamed prior to coating application.

3.4	Dow Corning 3-5000 Silicone Roof Coating Application

.1	Inspection

.1	Prior to the application of silicone coating, inspect the

polyurethane foam surface to ensure the conditions of Section 3.3 have been met.

.2	The polyurethane foam surface shall be free of moisture, dust,

dirt, debris and other contaminants that would impair the adhesion of the silicone coating.

.3	If more than 24 hours elapse between the polyurethane foam

application and the start of the silicone coating application, thoroughly inspect the polyurethane foam surface for UV degradation and oxidation.  Call BASF’s Technical Department, for procedures to proceed, if UV damage has affected the foam.

.4	Make sure all environmental conditions of Section 1.7 are met

prior to silicone coating application.

.2	Application

.1	BASF Dow Corning 3-5000 Silicone Roof Coating, dark gray,

must be used as the basecoat on the polyurethane foam.

.2	The silicone basecoat shall be applied on the same day as the

polyurethane foam application, after the polyurethane foam has been allowed to cure a minimum of one hour.

.3	Apply the basecoat in a uniform application to achieve a finished

dry film thickness of approximately ½ the total millage required for the roof.

.4	The basecoat shall not be subjected to foot traffic or otherwise

disturbed until it is tack-free.

.5	After is has cured, inspect the coating for pinholes, cracks, thin

areas or other defects.  All defects observed shall be caulked with sealant and/or roller coated with additional basecoat prior to applying subsequent coats of silicone.

.6	The basecoat must be cured, clean and free of all moisture prior

to application of topcoat.

.7	Apply the beige topcoat to the dark gray basecoat within 72

hours of the basecoat application.  The topcoat application shall be made at right angles to the basecoat application.  Surface texture and conditions may require additional quantities of silicone to insure proper millage.  It is the contractor’s responsibility to properly coat the insulation regardless of the quantity of silicone necessary.

.8	Apply the topcoat in a uniform application to achieve a

minimum total finished dry film thickness of the basecoat and topcoat of 25 dry mils and 20 dry mils on existing coating.

.9	The silicone roof coating shall be applied a minimum of 2 inches

beyond all the terminated edges of the polyurethane foam.  These terminations should be masked to provide a straight edge, neat, finished appearance.

.10	Allow the topcoat to cure and inspect the finished coating

surface for pinholes, cracks, thin areas, or other defects.  Repair any defects observed with silicone sealant and/or additional silicone coating material.

.11	It is the applicator’s responsibility to ensure the minimum total

dry film thickness specified is achieved throughout the entire roof area regardless of the quantity of liquid silicone required.

3.5	Granule Application

.1	Apply roofing granules in a finish coat of silicone coating.  A

minimum of 10 dry mils of silicone coating is required to hold the granules.

.2	Apply the roofing granules, using suitable compressed air equipment,

uniformly at a rate of approximately 40 pounds per 100 square feet of roof area.

.3	Apply the roofing granules immediately after the additional coating

application to obtain maximum wet-out and imbedment.

.4	After the coating has fully cured, all loose granules shall be removed

using a soft-bristled broom to prevent blocking drains and scuppers.

.5	Bare spots in the granulated surface shall be filled in by applying

additional coating and granules in these areas.

3.6	Walkways

.1	Factory-formed walkway pads may be used at roof-top equipment to

provide a working surface.  Spot adhere the pads or rolls to the finished roof surface with generous buttons of sealant.

3.7	Field Quality Control

.1	The contractor shall submit to the owner’s representative a listing of

any deficient roof areas such as:  ponding, wet insulation, deck problems, required new drains, etc..

.2	Core samples of the silicone roof system will be secured at

completion at a rate of one core per 10,000 square feet, with a minimum of 2 cores per roof, to test for foam thickness, compressive strength, density and adhesion.  Additionally, slit samples will be taken at a rate of 3 per 10,000 square feet, with a minimum of 6 per roof, to test the coating thickness and coating adhesion.  Samples areas will be repaired using silicone sealant and replacement foam cores.

.3	Contractor’s quality control during application shall consist of the

following, as a minimum:

.1	If specified, the primer application rate shall be verified by a

wet mil gauge test onto a metal test panel.

.2	Insulation thickness shall be verified with a probe at frequent

and random locations.

.3	Thickness and adhesion of the insulation shall be examined by

removing cores at a rate of 1 every 10,000 feet.

.4	After and during coating application, the contractor shall

remove slits to examine adhesion of the coating to the insulation and the dry millage of applied silicone coating.

3.8	Safety Requirements

.1	Proper safety precautions shall be followed throughout the entire

roofing operation.  OSHA and local regulations shall be strictly followed.  Refer to the roofing product’s Material Safety Data sheets, on site, for specific safety information on handling and working with all materials.  Dispose of all trash, debris and empty containers in accordance with local regulations.

.2	On roof and at site a fire extinguisher will always be available during

application.

END OF SECTION