PART 1 - GENERAL

1.01	RELATED DOCUMENTS

.1	Drawings and general provisions of Contract, including General and Supplementary Conditions and Division-1 Specification sections, apply to work of this section.

1.02 	DESCRIPTION OF WORK

.1 	Providing all preformed prefinished metal roofing, soffit Vee-Panels, Alucobond Panels, matching flashing, terminations, trim, closures, drip flashings, accessories, fastening devices and sealant for work as detailed on drawings, or specified herein.

1.03	REFERENCES

.1 	American Iron & Steel Institute (AIS!) Specification for the Design of Coldformed Steel Structural Members.

.2	ASTM A-653 & ASTM A924 Steel Sheet, Zinc-Coated (Galvanized)

.3	ASTM E-1680-95 (Air Infiltration Test)

.4	ASTM E-1646-95 (Water Penetration Test)

.5	ASTM E-1592

.6	Spec Data Sheet - Galvalume Sheet Metal by Bethlehem Corp.

.7	SMACNA - Architectural Sheet Metal Manual.

.8	Building Materials Directory - Underwriter's Laboratories, Test Procedure 580.

1.04 	ASSEMBLY DESCRIPTION

.1	The roofing assembly includes preformed sheet metal panels, related accessories, valleys, hips, ridges, eaves, comers, rakes, miscellaneous flashing and attaching devices.

1.05 	QUALITY ASSURANCE

.1 	Provide preformed metal standing seam Tee - Panel roof system and Vee-Panel soffit system as manufactured by Berridge Manufacturing Company, 1-800-231-8127, or approved equal. Installer shall be approved by roof system manufacturer.

.2 	Where possible, prior to fabrication of prefabricated panels, take field measurements of structure or substrates to receive panel system. Allow for trimming panel units where final dimensions cannot be established prior to fabrication.

.3 	The finish on the panels shall be guaranteed by the manufacturer for 20 years against crack, check, peel, loose adhesion, chalk, or fade.

.4 	Roof system shall have successfully passed UL 90 PSF wind uplift test.

1.06	SUBMITTALS

.1	Submit manufacturer's product specifications, standard details, certified product test results, installation instructions and general recommendations, as applicable to materials and finishes for each component and for total system of preformed panels.

.2 	Submit two (2) samples 12" square, of each exposed finish material. Submit a sample of each type of roof panel, complete with factory finish.

.3 	Submit small-scale drawings showing layouts of panels on walls and roofs, and large scale details of edge conditions, comers, custom profiles, anchoring details, joint details, trim, flashing, and accessories, supports, closures, and special details. Show details of weatherproofing, terminations, and penetrations of metal work. Distinguish between factory and field assembly work.

.4 	Submit results indicating compliance with minimum requirements of the following performance tests:

.1 	Air Infiltration ASTM E-1680-95

.2 	Water Infiltration ASTM E-1646-95

.3 	Wind Uplift - U.L.90

1.07 	WARRANTY

.1 	Paint finish shall have a twenty-year guarantee against cracking, peeling and fade (not to exceed 5 N.B.S. units).

.2 	Galvalume material shall have a twenty-year guarantee against failure due to corrosion, rupture or perforation.

.3 	Applicator shall furnish guarantee-covering water tightness of the roofing system for the period of one (1) year from the date of substantial completion.

1.08 DELIVERY, STORAGE AND HANDLING

.1 	Upon receipt of panels and other materials, installer shall examine the shipment for damage and completeness.

.2	Panels should be stored in a clean, dry place. One end should be elevated to allow moisture to run off.

.3 	Panels with strippable film must not be stored in the open, exposed to the sun.

.4 	Stack all materials to prevent damage and to allow for adequate ventilation.

PART 2 - PRODUCTS

2.01 	SHEET MATERIALS AND FINISH

.1 	Prefinished Metal shall be Hot-Dipped Galvanized - ASTM A446-85 Grade C G90 Coating A525-86 24 Gauge core steel or prefinished Galvalume - ASTM 792-86 AZ-55.

.2 	Unfinished Metal shall be Grade C Galvalume ASTM 792-86, AZ 55, "Satin Finish".

.3 	Finish shall be "LEAD -COTE", metallic color Flouropolymer finish applied by the manufacturer on a continuous coil coating line, with a top side dry film thickness of 0.70 to 0.90 mil over 0.25 to 0.35 mil prime coat, to provide a total dry film thickness of 0.95 to 1.25 mil. Bottom side shall be coated with primer with a dry film thickness of 0.25 mil. Finish shall conform to all tests for adhesion, flexibility, and longevity as specified by the Kynar 500 finish supplier.

.4 	Strippable film shall be applied to the top side of the painted coil to protect the finish during fabrication, shipping and field handling. This strippable film must be removed before installation.

.5 	Shop or field applied painting will not be acceptable except for minor touch-up.

.6 	Forming: Continuous end-rolling method, uniform across cross section of units.

.7 	Trim: Same material to match units.

.8 	Closures: Protected metal to close ends of profile.

2.02 	ACCESSORY MATERIALS

.1 	Fasteners: Stainless Steel with washers where required.

.2 	Sealant: Multi-Component Polyurethane Sealant: Except as otherwise indicated, provide manufacturer's standard, non-modified, 2-or-more-part, polyurethane based, elastomeric sealant; complying with either ASTM C 920 Type M class 25.

.3 	Vinyl Weatherseal Insert.

2.03 	BERRIDGE TEE- PANEL METAL STANDING SEAM

.1 	Panels shall have 1" high vertical seam height, spaced 12-3/4" on center.

.2 	Panels shall be factory-formed to maximum 40'.

.3 	Snap-on seams shall be 1" in height and shall contain the Berridge factory-applied Extruded Vinyl Weather Seal Inserl (Patent No. 4641475) to prevent siphoning of moisture through the standing seam.

.4 	Concealed anchor clips shall be spaced as required to meet uplift loads (maximum of 24" on center).

.5 	Panel assembly shall bear Underwriter's Laboratories Label UL90, pursuant to Construction Number 296 and applicable Fire Ratings.

.6 	Certification shall be submitted, based on independent testing laboratory, indicating no measurable water penetration or air leakage beyond allowable tolerances through the system when tested in accordance with ASTM E-331-86 and E-283-84.

2.04 	BERRIDGE VEE-PANEL AND VENTED VEE-PANEL SOFFITS

.1 	Panels shall be roll-formed in continuous lengths (max 40'). Vee-Groove spacing shall be 3-5/8" O.C.

.2 	Concealed anchor clips shall be spaced at 16" O.c.

.3 	Provide J-Channel edge trim around perimeter edges. Finish to match soffits.

2.05 	ALUCOBOND PANELS

.1 	Panels shall be 4 mm thick. Back face sheet shall be AA3000 Series (painted metal). Exposed front face sheet shall be AA5000 (clear anodized alum.)

.2 	Caulk all vertical panel joints.

.3 	Provide continuous .040 clear anodized J-Channel edge trim at bottom edges.

2.06 	FABRICATION

.1 	Comply with dimensions, profile limitations, gauges and fabrication details shown and, if not shown, provide manufacturers standard product fabrication.

.2 	Fabricate components of the system in factory, ready for field installation.

.3 	Fabricate components and assemble units to comply with fire and performance requirements specified.

.4 	Apply specified finishes in conformance with manufacturer's standards, and according to manufacturer's instructions.

.5 	All exposed adjacent flashing shall be of the same material and finish as the roof panels.

.6 	Hem all exposed edges of flashing on underside, 1/2 inch.

PART 3 - EXECUTION

3.01 INSPECTION

.1 	Examine roof deck to ensure proper attachment to framing.

.2 	Inspect roof deck to verify deck is clean and smooth, free of depressions, waves or projections, level to +/- 1/4" in 20', and properly sloped to [valleys] (or) [eaves].

.3 	Verify roof openings, curbs, pipes, sleeves, ducts or vents through roof are solidly set, cant strips and reglets in place; and nailing strips located.

.4 	Verify deck is dry and free of snow or ice. Flutes in steel deck to be clean and dry.

.5 	Verify #30 unperforated asphalt saturated roofing felt underlayment has been installed over solid sheathing and fastened in place.

.6 	Ensure felt is installed horizontally, starting at eave to ridge with a 6" minimum overlap and 18" endlaps.

.7 	Ensure that all nail heads are totally flush with the substrate. Nails shall be galvanized roofing nails with Berridge Coated Felt Caps.

3.02 INSTALLATION

.1 	Comply with manufacturers standard instructions and conform to standards set forth in the Architectural Sheet Metal Manual published by SMACNA, in order to achieve a watertight installation.

.2 	Install panels in such a manner that horizontal lines are true and level and vertical lines are plumb. Shim and align panel units within installed tolerance of 1/4" in 20'-0" on level/plumb/slope and location/line as indicated, and within 1/8" offset of adjoining faces and of alignment of matching profiles. Install panels with concealed fasteners.

.3 	Install starter and edge trim before installing roof panels.

.4 	Remove protective strippable film prior to installation of roof panels. Roof system to be rigidly fastened at eave and allow for thermal expansion and contraction within a minimum ambient temperature range of 125°F.

.5 	Attach panels using manufacturer's standard clips and fasteners, spaced in accordance with approved shop drawings.

.6 	Install sealants for preformed roofing panels as approved on shop drawings. Install gaskets, joint fillers and sealants where indicated and where required for weatherproof performance of panel systems. Provide types of gaskets and sealants/filler indicated or, if not otherwise indicated, types recommended by panel manufacturer. Flashing details shall allow for expansion and contraction of roof system. Panels shall run continuously with no end laps.

.7 	Do not allow panels or trim to come into contact with dissimilar materials.

.8 	Do not allow traffic on completed roof. If required, provide cushioned walk boards.

.9 	Protect installed roof panels and trim from damage caused by adjacent construction until completion of installation.

.10 	Remove and replace any panels or components which are damaged beyond successful repair.

3.03 CLEANING

.1  	Replace panels and other components of the work which have been damaged or have deteriorated beyond successful repair by means of finish touch-up or similar minor repair procedures.

.2 	Clean any grease, finger marks or stains from the panels per manufacturer's recommendations.

.3 	Remove all scrap and construction debris from the site.

END OF SECTION