# PART 1 - GENERAL

1.01	Description

.1	Provide vandal resistant window screens at locations indicated on drawings.

  - Submittals

.1	Submit manufacturer's technical product data for each item of assembly specified or required for final installation.  Include instructions for installation and for maintenance of operating parts and finish.

.2	Submit shop drawings for entire screen assembly indicating all components and relation to existing or built-in-place construction, details of attachment to surrounding materials and elevations showing scope of the project.  Field verify existing conditions and dimensions prior to production of shop drawings.

.3	Submit sample of materials as may be requested without cost to owner, including frame sections, wire cloth, fasteners, mullion section, corner section, etc.

.1  Custom Colored Finish

1.03	Warranty

.1	The operation of the security screens shall be warranteed for one (1) year against any proven defective material or parts, as called for in the specifications and approved shop drawings.  This warranty does not cover abuse by others.

# PART 2 - PRODUCTS

2.01	Manufacturer

.1	Window screens shall be Level 5 Operable Steel Narrowline Security Screens, Model S-NR5-0, as manufactured by Kane Manufacturing Corporation, Kane, PA (814) 837-6464 or approved equivalent.

.2	Frame Colors:  Color to match window frames.

.3	If the Bidder intends to use an equivalent on this project, the equivalent must be submitted to the District’s Design Group for approval prior to the award of the Contract.  Such request for equivalents by the Bidder shall be accompanies by physical samples of those items he proposes to substitute. Bidder shall include letter indicating which specific product feature(s) called for in the specification which the proposed substitution does not provide. Thereafter, if no requests for equivalents are presented prior to award of the Contract, the District must assume that the Bidder has intended in his bid to use these specified products.  Furthermore, for these specific products no substitutions will be allowed after the Contract has been awarded.

2.02	Main Frame

.1	Certifications – Performance and testing must comply with impact test, sag test and forced entry resistance test of SMA 6001-85.  Manufacturer must submit the AAMA Notice of Product Certification in compliance with CFR 200.935 as “Security Screen – Heavy”.

.2	The main frame rails shall be of not less than 16-gauge 1” x 1” seamless welded galvanized steel tubing with high strength die cast metal corners which are pneumatically inserted into the frame ends with an interference fit.

.3	A removable face plate, extruded from 6063-T6 aluminum alloy, .062-inch thick .212 lbs./ft., shall be attached to the sides of the main frame using square drive Tek screws.  The faceplate corner bead shall integrate with the sub-frame to conceal the hardware and fasteners.

.4	Frame includes horizontal brace.  See drawings for location.

2.03	Subframe

.1	The subframe shall be of channel design, extruded from 6063-T6 aluminum alloy.  Weight shall be .515 lbs./ft.  Wall thickness shall be .090 inch.  The corners of the subframe shall be mitered, secured by an internal tension coupling assembly and shall be resistant to both torsion and flexural failure.

.2	The subframe shall have a continuous groove retaining a combination cushioning strip/insect shield. The depth of the subframe shall be no more than 1¾”.

2.04	Finish

.1	The main frame and perforated panel infill shall be thoroughly cleaned in a 5 step bonderizing process.  An electrostatically applied thermoplastic, polyester powder coating shall be applied and baked to a hard mar-resistant finish in a custom color to be selected by the Architect.

.2	The subframe, faceplates and scribe angles shall be thoroughly cleaned in a 5 step bonderizing process.  An electrostatically applied thermoplastic, polyester powder coating shall be baked to a hard mar-resistant finish.  Coating shall meet or exceed AAMA 2603.  Color as selected by the Architect.

2.05	Infill – Perforated Panel

.1	18-gauge stainless steel, perforated panel, 63% open area; black finish.

2.06	Infill Attachment

.1	The perforated panel shall be attached to the main frame with hex-head Tek Screws.

.2	Hex-head Tek screws shall penetrate the infill and main frame approximately 4” on center.

2.07	Emergency Egress Release

.1	Each screen shall have two steel latches, which operate simultaneously from a Roto-Lift ™ emergency release.  The emergency release mechanism shall be contained within the tubular mainframe.  Each Roto-Lift ™ shall be outfitted with a secure spring-loaded activator to rotate the inhibitor, which allows the steel latches to open.  When the Roto-Lift ™ is activated, the steel latches are simultaneously released and the screen opens for instant egress.  No plastic parts will be accepted.  Note:  Egress hardware to be max. 54” AFF.

.2	Each screen shall have a tamper shield installed at the emergency release to protect the screen hardware from exterior tampering.

.3	Exterior mounted, keyed cam lock.

2.08	Hardware

.1	Each screen shall be provided with two or more concealed 13 gauge, electroplated steel hinges with 1/4 inch diameter hardened, loose stainless steel pins and integral compression guards.

.2	Each screen shall have all necessary installation hardware, including fastening screws and .062 inch thick aluminum scribes.  The 3/4" x 1" scribes shall be supplied at the head and jambs if required.

.3	Each screen shall come fully assembled and tested from the factory.

# PART 3 - EXECUTION

3.01	Inspection

.1	Verify that openings fit allowable tolerances, are plumb, level, provide a solid anchoring surface and comply with approved shop drawings.

3.02	Installation

.1	Install in accordance with approved shop drawings and specifications.

.2	Plumb and align faces in a single plane and erect screens square and true, adequately anchored.

.3	After completion of installation, screens shall be adjusted, in working order and clean.

END OF SECTION