DIVISION 11 - EQUIPMENT

SECTION 11 40 00 – INDUSTRIAL APPLIANCES

PAGE 3 OF 3
_________________________________________________________________


PART 1 - GENERAL
1.1
Work of this section includes:

.1
Cooking equipment including the following:

.1
Freezer Cabinets

.2
Food Warming/Holding Cabinet

.3
Provide separate information prices for each item listed above.

1.2
Submittals

.1
Product Data:  For each type of product indicated.

.2
Samples:  For each exposed finish.

.3
Appliance Schedule:  Use same designations indicated on drawings.

.4
Maintenance data

1.3
Quality Assurance

.1
Installer Qualifications:  An employer of workers trained and 

approved by manufacturer for installation and maintenance of units required for this project.

.2
Electrical Components, Devices and Accessories:  Listed and labeled 

as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction and marked for intended use.

.3
Industrial Appliances:  Comply with NAECA standards.

1.4
Warranty

.1
Special Warranty:  Manufacturer’s standard form in which 

manufacturer of each appliance specified agrees to repair or replace residential appliances or components that fail in materials or workmanship within specified warranty period.

.1
Freezer: Four year compressor, one year parts and labor.
.2
Holding Cabinet:  One year parts and labor.

PART 2 - PRODUCTS
2.1
Manufacturers
.1
Freezer Cabinet
.1
Shall be Master-Bilt Model No. DC-4DSE with lock bar and angle 


clip, or the approved equivalent.

.1
12 locations required.  See attached plan sketches.

.2
Refer to the attached manufacturer’s catalog cut for 


reference only.

.2
Holding Cabinet
.1
Shall be Lockwood Model no. CA67-PFIN-34ID or the approved 


equivalent.

.1
2 locations required.  See attached plan sketches.

.2
Refer to the attached manufacturer’s catalog cut for 


reference only.

PART 3 - EXECUTION
3.1
Installation, General
.1
Built-in Equipment:  Securely anchor units to floor, supporting 

cabinets or countertops with concealed fasteners. Verify that clearances are adequate for proper functioning and rough openings are completely concealed.

.2
Freestanding Equipment:  Place units in final locations after finishes 

have been completed in each area.  Verify that clearances are adequate to properly operate equipment.

.3
Utilities:  Extend existing natural gas line and existing water line.  
Provide whip cord of sufficient length to existing electric outlet.  Locate equipment so that required draining is possible.
.4
All work shall be performed by qualified personnel and completed in 

compliance with NFPA 101 - National Life Safety Code, NFPA70 – National Electric Code, NFPA54 – National Fuel Gas Code, City of Rochester Plumbing Codes and all other applicable codes and regulations.

.5
Provide start-up and staff training in the operation of new 


equipment.

END OF SECTION

R- /10-11

