PART 1 – GENERAL

1.1	SUMMARY

.1	This section includes the following:

.1	Classroom furniture

.2	Computer classroom furniture

.3	Office furniture

.4	Library furniture

.5	Cafeteria furniture

.2	All furnishings and assemblies shall be purchased off the New York State contract, when applicable, at no cost to the District.  Submit detailed invoices as separate backing to the Schedule of Values and payment application.

.3	Refer to Furniture Replacement Schedule for required quantities and type.

1.2	SUBMITTALS

.1	Product Data:  For each type of product specified, submit manufacturer’s product data, including detailed description of all components.  Products and models specified represent the standard of acceptance.  Proposed equivalents are required to be submitted prior to award of contract.

.2	Shop Drawings:  For computer classrooms, office area assemblies, circulation desks and other similar assemblies, submit shop drawing and assembly instructions.  Include plans, elevations, sections, details and attachments to other work.

.1	Indicate dimensions of all components.

.2	Indicate locations and types of service fittings, together with associated service supply connection required.

.3	Samples for Initial Selection:  Submit manufacturer’s color charts, veneer options, fabric etc. consisting of actual units or sections of units showing the full range of available selections.

.4	Samples for Verification:  Submit 6” inch square samples for each type of finish, including all surface materials.  Submit a mock-up of products upon request, including demonstration of hardware, edging details and other appropriate assembly components.

.5	Schedule:  Submit a schedule of furnishings indicating type, manufacturer’s name, catalog number, location and finish of each item to be furnished. Delivery shall be no longer than 10 days after request.

1.3		QUALITY ASSURANCE

.1	Source Limitations:  Obtain furniture, including all components and accessories, through one source from a single manufacturer, except as approved otherwise.

.2	Product Designations:  Drawings, if any, indicate sizes, configurations, and finish material of casework by referencing designated manufacturer’s catalog numbers.

.3	Manufacturer’s Warranty:  Submit the manufacturer’s warranty along with shop submittal information.

1.4		DELIVERY AND HANDLING

.1	Deliver furniture to locations within the building as directed by the District’s Representative.  Digital bar code inventory will be made of all units by the District.  Assemble all components in accordance with the manufacturer’s instructions for all units delivered disassembled.  Refer to Part 3 – Execution, for additional requirements.

.2	Deliver to the District all overstock parts and components in the following quantities:

________% molded plastic desk seats

________% molded plastic desk tops

________% molded plastic desk backs

________% molded plastic stool seats

.3	Protect finished surfaces from soiling and damage during handling and delivery.  Keep covered with polyethylene film or other protective covering.  Make any repairs required prior to final acceptance.

1.5		PROJECT CONDITIONS

.1	Environmental Limitations:  Do not delivery or install wood furnishings until building is enclosed, wet-work is completed, and HVAC system is operating and will maintain temperature and relative humidity at occupancy levels through remainder of construction period.

1.6		COORDINATION

.1	Coordinate layout and installation of data/power feeds as required.

PART 2 – PRODUCTS

2.1		MANUFACTURERS

.1	Manufacturers:  Numbers listed in the Schedule are from the catalogs of the following manufacturers; provide products by the following:

.1	Classroom Furniture – Columbia Mfr., NYS PC #56946

.1	Chairs

.1	#112	- All purpose, 12”-17½”h

.2	#113 – All purpose, stacking, 12”-17½”h

.3	#114 – All purpose, stacking, 12”-17½”h

.4	#162 – Cafeteria/Computer lab, compact rear leg design

.5	#040 – All purpose stool, 17-24”h, adjustable & 30”h fixed

.6	#4210 – Upholstered Teacher’s Chair (#4220 w/arms)

.2	Desks

.1	#313 – Open front desk, 23½”-30½, adjustable, (#311, fixed heights)

.2	#506 – Wheelchair desk, 32” height or adjustable

.3	#525 – Heavy duty combination chair/desk, 17½”h (#5326 w/bookbasket), 12 year warranty

.3	Tablet Chairs/Desk

.1	#511 – Large Tablet, 17½”h (#512 w/bookbasket), 12 year warranty.

.2	#872 – Table, 15½”, 17½”h (#879 inverted “V” booksaver)

.4	Activity Tables - #6000 Series – Specify shape, dimensions

.1	#6010 – 24” x 48”

.2	#6020 – 30” x 60”

.3	#6030 – 30” x 72”

.4	#6100 – 42” round

.5	#6110 – 48” round

.6	#6200 – 42” square

.7	#6300 – Horseshoe, 60” x 66”

.8	#6500 – Trapezoid, 24” x 48”

.9	#6510 – Trapezoid, 30” x 60”

.2	Computer Classroom Furniture – Smith System, NYS PC#54544

.1	Flexible Double Desk

.1	#01361 Two student desk, 20” x 60”, adjustable height

.2	#01380 Two student desk, 24” x 54”, adjustable height

.2	Flexible Single Desk

.1	#01370 One student desk, 24” x 27”, adjustable height

.3	Arc Desk

.1	#01350 One student desk, trapezoid, adjustable height

.4	Sawtooth Computer Table (mfr. by LSI Corp. of America)

.1	#30296 – Single station, left facing, 30” height

.2	#30297 – Single station, right facing, 30” height

.3	#30295 – Dual station, 30” height

.3	Office Furniture – Hon, NYS PC#54282

.1	Steel Desks (Teachers), 38000 Series

.1	#38155 – 30” x 60” double pedestal

.2	#38170 – 30” x 66” double pedestal

.3	#38CDSL/R- Clerical data station

.2	Wood Desk (Administrator), 92000 Series

.1	#92T4-L – “U” shape w/pedestal file (92T11-R)

.2	#92T5-L – “U” shape w/lateral file (92T12-R)

.3	#92T8 – Desk/Credenza Hutch

See catalog diagrams for additional configurations.

.3	Conference Tables

.1	#90514, w/91217 – Boat shape/slab base, 12 persons, wood veneer

.4	Chairs, 2200 Series (hardwood arms/base cap)

.1	#2203 – Sled base chair, Grade III (fabric) or Grade IV, various other accessories

.2	#2201 – Executive high back

.3	#2202 – Managerial high back

.5	Chairs, 5900 Series (molded arms/base cap)

.1	5903 – Task chair, Grade III (fabric) or Grade IV, various other accessories

.2	5905 – Task Stool, with adjustable foot ring

.6	Workstation Assemblies – Simplicity II Series

.1	Refer to manufacturer’s catalog

.4	Library Furniture – Buckstaff, NYS PC #53809

.1	Shelving – Standard Finishes – 9500 Series

.1	Refer to manufacturer’s catalog

.2	Circulation Desk – 9500 Series

.1	Refer to manufacturer’s catalog

.3	Study Carrel – 9100 Series

.1	#9197194 – Initial Study Carrel

.2	#9197196 – Add-on Study Carrel

.4	Reading Table – 9100 Series

.1	#9159137 – 36” x 72”, oak or maple

.2	#9159167 – 48” round, oak or maple

.5	Side Chair – 9100 Series

.1	#9181303 – Oak or maple, choice of fabric or wood back and seat (301)

.6	On-Line Computer Table – 9100 Series

.1	#9144339 – Double, oak or maple

.5	Cafeteria Furniture – Biofit Engineered Products (12 year warranty on all products)

.1	Roll/Fold Tables w/seats

.1	#60C29C – 10’ w/stools, 29”h

.2	#60C322C – 10’ w/stools, 2 wheelchair, 29”h

.3	#8F827C – 8’ w/stools, 27”h

.4	#8F829C – 8’ w/stools, 29”h

.5	#12FB27C – 12’ w/bench, 27”h

.6	#12FB29C – 12’ w/bench, 29”h

.7	#8FB27C – 8’ w/bench, 27”h

.8	#8FB29C – 8’ w/bench, 29”h

.2	Roll/Fold Tables w/o seating

.1	#8FR3029C – 8’ rectangular (27” or 29”h)

.2	#10FR3029C – 10’ rectangular (27” or 29”h)

.3	#12FR3029C – 12’ rectangular (27” or 29”h)

.4	#CFR6029C – 60” round (27” or 29”h)

.5	#CFR6629C – 66” round (27” or 29”h)

.6	#CFR7229C - 72” round, (27” or 29”h)

.3	Handicap/ADA modifications available in all models; chrome frame in all models.  See manufacturer’s data for additional options and sizes.

PART 3 – EXECUTION

3.1		MOVING AND STORAGE

.1	The contractor shall provide all associated moving of furnishings as indicated in the Furniture Replacement Schedule.  This includes, but is not limited to, the delivery/placement of new furniture, the relocation of existing furniture within the school(s) and the delivery and/or dispersment of salvageable furniture to other locations as so designated.

.2	Furniture that is designated as no longer usable shall be the property of the contractor and shall be removed from the site and disposed of as soon as it is practical.

.3	Storage – There shall be no storage of furnishings permitted within the building unless in a manner and in locations approved by the District’s Representative.   Exits shall not be obscured.  The Contractor will provide off-site storage in a fully bonded facility or in secure trailers located on site upon approval by the District’s Representative.  The Contractor is responsible for protection of all stored and placed furnishing against theft and vandalism until all units are turned over and accepted by the District’s Representative.  This transfer of responsibility will occur no sooner than the commencement of school and/or re-occupancy of rooms indicated on the Furniture Replacement Schedule.

3.2		PROTECTION OF BUILDING AND SITE

.1	The Contractor shall protect all surfaces of the existing building from damage and make repairs as required to restore when damage occurs.

.2	Trailers will not be stored in such a manner that could result in damage to the building from theft and vandalism (including arson).

.3	The site shall be restored to the original condition and in a manner and schedule acceptable to the District’s Representative.

3.3		ASSEMBLING AND PLACING

.1	The contractor shall remove all furniture and assembly parts from packing material.  Assembly of all parts as required shall be made by a journeyman familiar with the manufacturer’s product(s).  Packing material shall be disposed of from the site on a daily basis.

.2	Placing of furniture, equipment and assemblies shall be done by the contractor in accordance with the Replacement Furniture Schedule except as directed by the District’s Representative.

.3	All equipment and furnishing shall be cleaned.  All moving parts shall be lubricated and adjusted as required prior to acceptance.

END OF SECTION