PART 1 – GENERAL

1.1	Maintenance Products for New Floor Finishes

The Rochester City School System has standardized on Hillyard and/or CORR Floor Care Programs. These programs, products and procedures have proven to provide superior, long lasting results, less maintenance and man-hours. Therefore immediately upon completion of installation or renovation, each applicable contractor or subcontractor shall prepare and finish all newly installed floor surfaces with the following applicable specified products. Also see various specification sections for any specific finishes required. Coordinate with City School District prior to applying products to make sure most current list of products is being used. Follow all manufacturers’ directions in said preparation and application. Refer to the following by type of floor surface:

.1	Resilient Tile Floors: Two (2) coats of Seal 341 plus three (3) coats of Navigator.

.2	Unsealed Quarry Tile/Terrazzo/Hard Surfaces:  Two (2) coats of Seal 341.

.3	Ceramic Tile:  Two (2) coats of grout sealer (if sealing is recommended).

.4	Wood Floors and Sports Surfaces: Basecoat II sealer and 350 Gym

Finish coat.

.5	Carpet: Spray Hillyard with Soil Stop HIL927-06 per manufacturer instructions.

1.2	Removal of scale, lime and salts from non-resilient Floor: Nutra-Rinse.

1.3	Prior to Final Transfer:  All hard floor surfaces need to be damp mopped as needed and swept clean with a dust mop.

PART 2 – PRODUCTS

2.1	City School District Approved Product List:

.1	Hillyard SEAL 341

.2	Hillyard 350 GYM FINISH

.3	Hillyard EXPLORER

.4	Hillyard NUTRA RINSE

.5	Hillyard SOIL STOP

.6   hillyard tILE AND gROUT sEAL

.7   hillyard tERRAZINE

2.2	Any glue, mastic or adhesive shall be removed with Citrus Scrub (Item #426).

2.3	Maintenance Products For New Exterior Surfaces/Anti-Graffiti Sealer (Plus new masonry at interior ‘Public’ surfaces.)

.1	The RCSD has standardized on an anti-graffiti system for their exterior wall systems. Any new exterior masonry, concrete, etc. surface or cleaning of restored existing surface shall have the following applied.

.2	Product: “Graffiti Melt Barrier Coating” by Genesis Coatings, Inc., a colorless breathable barrier that does not alter the surface appearance.

.3	Areas of Application: All exterior masonry, concrete, etc. surfaces below 8' above general surrounding grade level or above aptly adjacent surface that can be stood upon. If directly adjacent to driveways or vehicular access apply to minimum 12' above pavement level. This includes painted, glazed, or other type masonry surfaces, including joints.

.4	Application: Follow manufacturer’s requirements for type of surface. Generally done with an airless sprayer, in non-windy conditions. Clean and prepare surface as directed. Protect all non masonry surfaces. Remove/clean all over spray. Apply two (2) coats, each at 350 sf per gallon.

.5	Notify Inspector prior to application so he may confirm complete installation.

END OF SECTION 01 84 00